## Electrical Safety Checklist
RevoField
Electrical Safety Checklist
Date:
Customer Name:
Address:
Phone:
Job / WO #:
TEMPLATE FIELDS
01 | Panel Condition | e.g., Square D QO 200A panel, installed 2015, no visible damage, cover secure
02 | Breaker Functionality | e.g., All breakers tested — trip and reset correctly; no buzzing or heat detected
03 | Grounding Verification | e.g., Ground rod resistance: 15 ohms; bonding jumper present at water main
04 | GFCI/AFCI Testing | e.g., All GFCI outlets trip/reset correctly; AFCI breakers on bedroom circuits functional
05 | Wiring Inspection | e.g., No exposed wiring, no improper splices, all junction boxes covered
06 | Outlet Condition | e.g., All outlets tested — correct polarity, proper grounding, no loose receptacles
07 | Voltage Readings | e.g., L1: 121V, L2: 119V at panel; 118V at furthest outlet — acceptable voltage drop
08 | Amperage Readings | e.g., Main breaker: 85A total draw (42.5% of 200A capacity); highest circuit: 18A on 20A breaker
09 | Code Compliance Status | e.g., Meets current NEC standards; grandfathered items noted (no AFCI in living room)
10 | Fire Hazard Assessment | e.g., No overloaded circuits, no double-tapped breakers, no aluminum wiring concerns
11 | Safety Recommendations | e.g., Add GFCI protection to garage outlets; label all breakers; tighten neutral bus connections
12 | Inspector Signature | Print name and sign
Additional Notes:
| Technician Signature: | Customer Signature:
| Date: | Date:
Generated from revofield.com — Try RevoField free at app.revofield.com/register

## About
About This Template
Electrical Safety Checklist
How to Use This Template
1. Fill in the job information at the top (Date, Customer Name, Address, Phone, Job/WO #).
2. Complete each field in the "Template Fields" section — replace the gray example text with your actual data.
3. Use the "Additional Notes" area for any extra observations, recommendations, or follow-up items.
4. Have the technician and customer sign at the bottom to confirm the work performed.
5. Save or print the completed form for your records.
Tips
• Be as detailed as possible in each field — it helps with billing, warranty, and customer communication.
• Take photos of the job site before and after work for documentation.
• Keep a copy of the completed form for your records and provide one to the customer.
• For digital workflow and automatic syncing, try RevoField at app.revofield.com/register.
Disclaimer
This template is provided "as is" by RevoField for general informational and operational purposes only. It does not constitute legal, financial, or professional compliance advice. Users are responsible for ensuring that their use of this template complies with all applicable local, state, and federal laws, regulations, and industry standards. RevoField makes no warranties regarding the suitability or completeness of this template for any specific use case. By using this template, you agree that RevoField shall not be held liable for any damages or losses arising from its use.
Generated from revofield.com — Try RevoField free at app.revofield.com/register