## Field Service SOP Template
RevoField
Field Service SOP Template
Date:
Customer Name:
Address:
Phone:
Job / WO #:
TEMPLATE FIELDS
01 | Procedure Title | e.g., HVAC System Commissioning After Installation
02 | Purpose & Scope | e.g., Ensure newly installed HVAC systems are properly started, tested, and verified before customer handoff
03 | Required Tools/Equipment | e.g., Manifold gauges, multimeter, anemometer, thermometer, vacuum pump, nitrogen tank
04 | Safety Requirements | e.g., Verify electrical disconnect is off before accessing panels; wear safety glasses during refrigerant work
05 | Step-by-Step Procedure | e.g., 1) Verify refrigerant charge, 2) Check electrical connections, 3) Measure airflow, 4) Test thermostat, 5) Run full cycle...
06 | Quality Checkpoints | e.g., After step 3: airflow must be within 10% of manufacturer spec; after step 5: system holds temp within 2°F of setpoint
07 | Documentation Requirements | e.g., Complete commissioning checklist, record all readings on job sheet, take photos of nameplate and installation
08 | Escalation Protocol | e.g., If airflow is below spec, check ductwork before calling supervisor; if refrigerant charge is off, escalate to lead tech
09 | Completion Criteria | e.g., System maintains setpoint within 2°F, all readings within manufacturer spec, customer walkthrough completed
10 | Revision History | e.g., Rev 3.0, updated March 2026 — added anemometer step per manufacturer recommendation
11 | Approved By | e.g., Tom Rodriguez, Service Manager
12 | Effective Date | e.g., March 15, 2026
Additional Notes:
| Technician Signature: | Customer Signature:
| Date: | Date:
Generated from revofield.com — Try RevoField free at app.revofield.com/register

## About
About This Template
Field Service SOP Template
How to Use This Template
1. Fill in the job information at the top (Date, Customer Name, Address, Phone, Job/WO #).
2. Complete each field in the "Template Fields" section — replace the gray example text with your actual data.
3. Use the "Additional Notes" area for any extra observations, recommendations, or follow-up items.
4. Have the technician and customer sign at the bottom to confirm the work performed.
5. Save or print the completed form for your records.
Tips
• Be as detailed as possible in each field — it helps with billing, warranty, and customer communication.
• Take photos of the job site before and after work for documentation.
• Keep a copy of the completed form for your records and provide one to the customer.
• For digital workflow and automatic syncing, try RevoField at app.revofield.com/register.
Disclaimer
This template is provided "as is" by RevoField for general informational and operational purposes only. It does not constitute legal, financial, or professional compliance advice. Users are responsible for ensuring that their use of this template complies with all applicable local, state, and federal laws, regulations, and industry standards. RevoField makes no warranties regarding the suitability or completeness of this template for any specific use case. By using this template, you agree that RevoField shall not be held liable for any damages or losses arising from its use.
Generated from revofield.com — Try RevoField free at app.revofield.com/register