## HVAC Job Sheet Template
RevoField
HVAC Job Sheet Template
Date:
Customer Name:
Address:
Phone:
Job / WO #:
TEMPLATE FIELDS
01 | Job Number & Date | e.g., John Smith, 123 Main St, Dallas, TX 75201
02 | Customer & Location | e.g., Carrier 24ACC636A003, 3-ton split system, installed 2019
03 | System Type & Model | e.g., Annual maintenance / emergency repair / system check
04 | Serial & Model Numbers | e.g., Supply: 55°F, Return: 72°F, Ambient: 95°F, Delta-T: 17°F
05 | Refrigerant Type & Charge | e.g., R-410A — suction: 118 PSI, liquid: 320 PSI, subcooling: 12°F, superheat: 8°F
06 | Supply/Return Temperatures | e.g., 20×25×1, moderately dirty — replaced; next change in 90 days
07 | Filter Size & Condition | e.g., Compressor amp draw: 12.5A (RLA: 14.0A); fan motor: 1.8A
08 | Capacitor Readings | e.g., Cleaned evaporator coil, replaced filter, checked refrigerant charge, lubricated blower bearings
09 | Amp Draws | List each part: e.g., Air filter 20×25×1 ×1 — $8; capacitor 45/5 µF ×1 — $35
10 | Work Performed | e.g., Blower belt showing wear — replace next visit; condenser coils need cleaning
11 | Parts Used | Print name and sign
12 | Recommendations | Print name and sign
Additional Notes:
| Technician Signature: | Customer Signature:
| Date: | Date:
Generated from revofield.com — Try RevoField free at app.revofield.com/register

## About
About This Template
HVAC Job Sheet Template
How to Use This Template
1. Fill in the job information at the top (Date, Customer Name, Address, Phone, Job/WO #).
2. Complete each field in the "Template Fields" section — replace the gray example text with your actual data.
3. Use the "Additional Notes" area for any extra observations, recommendations, or follow-up items.
4. Have the technician and customer sign at the bottom to confirm the work performed.
5. Save or print the completed form for your records.
Tips
• Be as detailed as possible in each field — it helps with billing, warranty, and customer communication.
• Take photos of the job site before and after work for documentation.
• Keep a copy of the completed form for your records and provide one to the customer.
• For digital workflow and automatic syncing, try RevoField at app.revofield.com/register.
Disclaimer
This template is provided "as is" by RevoField for general informational and operational purposes only. It does not constitute legal, financial, or professional compliance advice. Users are responsible for ensuring that their use of this template complies with all applicable local, state, and federal laws, regulations, and industry standards. RevoField makes no warranties regarding the suitability or completeness of this template for any specific use case. By using this template, you agree that RevoField shall not be held liable for any damages or losses arising from its use.
Generated from revofield.com — Try RevoField free at app.revofield.com/register