## Maintenance Report Form
RevoField
Maintenance Report Form
Date:
Customer Name:
Address:
Phone:
Job / WO #:
TEMPLATE FIELDS
01 | Asset/Equipment ID | e.g., RTU-A-003, Asset Tag: HVAC-2019-012
02 | Location | e.g., Building A rooftop, northeast corner, access via roof hatch #2
03 | Maintenance Type | e.g., Quarterly preventive maintenance (Q1 2026)
04 | Condition Before | e.g., Unit operational; filters moderately dirty; belt showing minor wear; coils have light debris
05 | Work Performed | e.g., Replaced filters, cleaned condenser coils, lubricated bearings, tightened electrical connections
06 | Parts Replaced | e.g., Air filters 20×25×4 ×2; bearing grease (NLGI #2) applied to blower and condenser fan
07 | Condition After | e.g., Unit operating normally; filters clean; coils clean; all connections tight; belt has ~6 months life remaining
08 | Readings/Measurements | e.g., Supply air: 55°F, return: 72°F, suction: 120 PSI, amp draw: 12.0A, vibration: normal
09 | Issues Found | e.g., Economizer damper sticking slightly — operates but sluggish; condensate pan has minor rust spot
10 | Recommended Actions | e.g., Adjust/lubricate economizer linkage at next PM; monitor condensate pan rust — may need replacement within 12 months
11 | Next Service Date | e.g., July 15, 2026 (Q3 quarterly PM)
12 | Technician Signature | Print name and sign
Additional Notes:
| Technician Signature: | Customer Signature:
| Date: | Date:
Generated from revofield.com — Try RevoField free at app.revofield.com/register

## About
About This Template
Maintenance Report Form
How to Use This Template
1. Fill in the job information at the top (Date, Customer Name, Address, Phone, Job/WO #).
2. Complete each field in the "Template Fields" section — replace the gray example text with your actual data.
3. Use the "Additional Notes" area for any extra observations, recommendations, or follow-up items.
4. Have the technician and customer sign at the bottom to confirm the work performed.
5. Save or print the completed form for your records.
Tips
• Be as detailed as possible in each field — it helps with billing, warranty, and customer communication.
• Take photos of the job site before and after work for documentation.
• Keep a copy of the completed form for your records and provide one to the customer.
• For digital workflow and automatic syncing, try RevoField at app.revofield.com/register.
Disclaimer
This template is provided "as is" by RevoField for general informational and operational purposes only. It does not constitute legal, financial, or professional compliance advice. Users are responsible for ensuring that their use of this template complies with all applicable local, state, and federal laws, regulations, and industry standards. RevoField makes no warranties regarding the suitability or completeness of this template for any specific use case. By using this template, you agree that RevoField shall not be held liable for any damages or losses arising from its use.
Generated from revofield.com — Try RevoField free at app.revofield.com/register