## Maintenance SOP Template
RevoField
Maintenance SOP Template
Date:
Customer Name:
Address:
Phone:
Job / WO #:
TEMPLATE FIELDS
01 | Equipment/Asset Name | e.g., Rooftop HVAC Unit — Lennox LGH180, Serial: 5678B90123, Location: Building A roof
02 | Maintenance Type | e.g., Quarterly preventive maintenance (PM)
03 | Frequency/Schedule | e.g., Every 3 months (Jan, Apr, Jul, Oct); schedule within first 2 weeks of month
04 | Required Tools | e.g., Manifold gauges, multimeter, torque wrench, coil cleaner, lubricant, replacement filters
05 | Safety Lockout/Tagout | e.g., Open disconnect switch, verify 0V at unit, apply personal lock and tag, test to confirm dead
06 | Step-by-Step Procedure | e.g., 1) Inspect belts, 2) Lubricate bearings, 3) Check electrical, 4) Clean coils, 5) Check refrigerant, 6) Replace filters
07 | Inspection Checklist | e.g., Belts: no cracks, proper tension; bearings: no noise or play; coils: clean, no fin damage
08 | Replacement Parts List | e.g., Air filter 20×25×4 ×2, belt A-47 ×1 (replace annually), bearing grease (NLGI #2)
09 | Performance Criteria | e.g., Supply temp within 3°F of setpoint; amp draw within 10% of nameplate; no unusual noise or vibration
10 | Log Entry Requirements | e.g., Record date, tech name, readings, parts replaced, and any deficiencies in maintenance log
11 | Next Scheduled Date | e.g., July 15, 2026 (next quarterly PM)
12 | Maintenance Tech Signature | Print name and sign
Additional Notes:
| Technician Signature: | Customer Signature:
| Date: | Date:
Generated from revofield.com — Try RevoField free at app.revofield.com/register

## About
About This Template
Maintenance SOP Template
How to Use This Template
1. Fill in the job information at the top (Date, Customer Name, Address, Phone, Job/WO #).
2. Complete each field in the "Template Fields" section — replace the gray example text with your actual data.
3. Use the "Additional Notes" area for any extra observations, recommendations, or follow-up items.
4. Have the technician and customer sign at the bottom to confirm the work performed.
5. Save or print the completed form for your records.
Tips
• Be as detailed as possible in each field — it helps with billing, warranty, and customer communication.
• Take photos of the job site before and after work for documentation.
• Keep a copy of the completed form for your records and provide one to the customer.
• For digital workflow and automatic syncing, try RevoField at app.revofield.com/register.
Disclaimer
This template is provided "as is" by RevoField for general informational and operational purposes only. It does not constitute legal, financial, or professional compliance advice. Users are responsible for ensuring that their use of this template complies with all applicable local, state, and federal laws, regulations, and industry standards. RevoField makes no warranties regarding the suitability or completeness of this template for any specific use case. By using this template, you agree that RevoField shall not be held liable for any damages or losses arising from its use.
Generated from revofield.com — Try RevoField free at app.revofield.com/register