## Plumbing Inspection Checklist
RevoField
Plumbing Inspection Checklist
Date:
Customer Name:
Address:
Phone:
Job / WO #:
TEMPLATE FIELDS
01 | Water Supply Lines | e.g., Copper supply lines, good condition, no corrosion; main shutoff valve operates smoothly
02 | Drain Lines | e.g., All drains flowing freely; kitchen drain slightly slow — recommend snaking
03 | Water Heater Condition | e.g., Gas water heater, 50 gal, age 8 years; T&P valve functional; anode rod needs replacement
04 | Fixture Inspection | e.g., All faucets operational, no leaks; toilet #2 running intermittently — flapper worn
05 | Water Pressure Test | e.g., Static pressure: 62 PSI (acceptable range 40-80 PSI); no pressure regulator installed
06 | Leak Detection | e.g., No active leaks detected; moisture meter reading normal under all sinks
07 | Shut-off Valve Check | e.g., Main shutoff valve: functional; individual fixture shutoffs: all operational
08 | Sewer Line Status | e.g., Camera inspection not performed; no visible signs of root intrusion at cleanout
09 | Backflow Prevention | e.g., Backflow preventer on irrigation system — tested and certified; annual test due in 6 months
10 | Water Quality | e.g., No discoloration, no odor; recommend water quality test if well-supplied
11 | Recommended Repairs | e.g., Replace toilet #2 flapper; snake kitchen drain; replace water heater anode rod
12 | Inspector Notes | e.g., Overall system in good condition with minor maintenance items noted above
Additional Notes:
| Technician Signature: | Customer Signature:
| Date: | Date:
Generated from revofield.com — Try RevoField free at app.revofield.com/register

## About
About This Template
Plumbing Inspection Checklist
How to Use This Template
1. Fill in the job information at the top (Date, Customer Name, Address, Phone, Job/WO #).
2. Complete each field in the "Template Fields" section — replace the gray example text with your actual data.
3. Use the "Additional Notes" area for any extra observations, recommendations, or follow-up items.
4. Have the technician and customer sign at the bottom to confirm the work performed.
5. Save or print the completed form for your records.
Tips
• Be as detailed as possible in each field — it helps with billing, warranty, and customer communication.
• Take photos of the job site before and after work for documentation.
• Keep a copy of the completed form for your records and provide one to the customer.
• For digital workflow and automatic syncing, try RevoField at app.revofield.com/register.
Disclaimer
This template is provided "as is" by RevoField for general informational and operational purposes only. It does not constitute legal, financial, or professional compliance advice. Users are responsible for ensuring that their use of this template complies with all applicable local, state, and federal laws, regulations, and industry standards. RevoField makes no warranties regarding the suitability or completeness of this template for any specific use case. By using this template, you agree that RevoField shall not be held liable for any damages or losses arising from its use.
Generated from revofield.com — Try RevoField free at app.revofield.com/register