## Technician Report Form
RevoField
Technician Report Form
Date:
Customer Name:
Address:
Phone:
Job / WO #:
TEMPLATE FIELDS
01 | Technician Name | e.g., Mike Johnson, Tech ID: TJ-042
02 | Job Site Address | e.g., 123 Main St, Dallas, TX 75201 (residential, single-family home)
03 | Equipment Serviced | e.g., Carrier 24ACC636A003, 3-ton split system, installed 2019
04 | Issue Reported | e.g., Customer reported: AC running but not cooling; house temp 82°F, setpoint 72°F
05 | Diagnosis | e.g., Failed run capacitor on condenser — measured 8 µF (rated 45 µF); compressor not starting
06 | Actions Taken | e.g., Replaced run capacitor, verified compressor startup, monitored full cooling cycle for 15 minutes
07 | Parts Replaced | e.g., Run capacitor 45/5 µF ×1 — Supplier: Carrier OEM, Part #: P291-4554RS
08 | Test Results | e.g., After repair: suction 118 PSI, liquid 320 PSI, amp draw 12.5A (RLA 14.0A), delta-T 18°F
09 | Recommendations | e.g., System operating normally; recommend checking contactor contacts at next PM — showing minor pitting
10 | Time on Site | e.g., 1.5 hours (arrived 9:15 AM, departed 10:45 AM)
11 | Safety Observations | e.g., Disconnect switch functional; no exposed wiring; condenser pad level; adequate clearance around unit
12 | Technician Signature | Print name and sign
Additional Notes:
| Technician Signature: | Customer Signature:
| Date: | Date:
Generated from revofield.com — Try RevoField free at app.revofield.com/register

## About
About This Template
Technician Report Form
How to Use This Template
1. Fill in the job information at the top (Date, Customer Name, Address, Phone, Job/WO #).
2. Complete each field in the "Template Fields" section — replace the gray example text with your actual data.
3. Use the "Additional Notes" area for any extra observations, recommendations, or follow-up items.
4. Have the technician and customer sign at the bottom to confirm the work performed.
5. Save or print the completed form for your records.
Tips
• Be as detailed as possible in each field — it helps with billing, warranty, and customer communication.
• Take photos of the job site before and after work for documentation.
• Keep a copy of the completed form for your records and provide one to the customer.
• For digital workflow and automatic syncing, try RevoField at app.revofield.com/register.
Disclaimer
This template is provided "as is" by RevoField for general informational and operational purposes only. It does not constitute legal, financial, or professional compliance advice. Users are responsible for ensuring that their use of this template complies with all applicable local, state, and federal laws, regulations, and industry standards. RevoField makes no warranties regarding the suitability or completeness of this template for any specific use case. By using this template, you agree that RevoField shall not be held liable for any damages or losses arising from its use.
Generated from revofield.com — Try RevoField free at app.revofield.com/register